## Slide 1: Deployment and Operations for Software Engineers 2nd Ed
Chapter 15 – Disaster Recovery

## Slide 2: Outline
Disaster recovery plan
RTO and RPO and Tiers of systems
Primary and secondary data centers
Data Management
Software management Failover

## Slide 3: Disaster recovery plans
A disaster is an event such as a flood, earthquake, hurricane, or tornado, that renders an entire data center or availability zone unusable.
“Business continuity” refers to the complete set of concerns when a disaster occurs including people and customers
“Disaster recovery” refers to information technology concerns.

## Slide 4: Risk mitigation
All business continuity planning is a risk-mitigation activity.
Risk can be quantified: The risk of an event is the probability of the event occurring multiplied by the loss incurred if the event does occur.
Insurance is an appropriate analogy.
  Having no insurance can be catastrophic if a disaster event occurs.
  Having too much insurance is a financial drain

## Slide 5: Goal of a disaster recovery plan
Restore normal operations as soon as possible.
  Within cost constraints
  10% of operations costs is a disaster planning target for many organizations.
Targets of recovery must be specified

## Slide 6: Outline
Disaster recovery plan
RTO and RPO and Tiers of systems
Primary and secondary data centers
Data Management
Software management Failover

## Slide 7: RPO and RTO
RPO–Recovery point objective. the time interval between backups. Data stored in the database between last backup ad disaster will be lost.
RTO–Recovery time objective. The maximum amount of timeTime that the system can be down before customers can access it again.

## Slide 8: Prioritizing systems
Your organization may have hundreds if not thousands of different systems.
Not every system is of equal importance in terms of disaster recovery.
The first step in disaster recovery planning is to priortize your systems.
For convenience, priorities are set in terms of tiers.
All systems in a given tier have the same disaster plan.

## Slide 9: Tiers
A common model divides all systems in your organization into four tiers.
  Tier 1 will have, nominally, a 15-minute RPO and RTO, These are the mission critical systems.
  Tier 2 will have two hours. These are important support systems,
  Tier 3 will have four hours, These are less important support systems.
  Tier 4 will have 24 hours. These are everything else.

## Slide 10: Discussion questions
Identify two Tier 1 systems for your organization
Identify two Tier 4 systems for your organization.

## Slide 11: Outline
Disaster recovery plan
RTO and RPO and Tiers of systems
Primary and secondary data centers
Data Management
Software management Failover

## Slide 12: Data centers
Your systems execute on hardware inside a data center.
A data center is a physical location with
  roughly 100,000 computers
  backup power source (for some period),
  physical security and access controls,
  fire-suppression system,
  air-conditioning system.

## Slide 13: Secondary data center
If a disaster occurs, your organization’s only way to restore operation of software systems is to run them in a secondary data center,
This secondary data center should be geographically located far enough away from your primary data center so that both data centers will not be affected by a single disaster.
To restore a system to service (failover) at the secondary data center you need
  all the software that the system comprises
  valid data for the system

## Slide 14: Disaster recovery strategy
A disaster recovery strategy has three parts:
  identify a secondary computing facility,
  provide all needed software
  provide data.
Each part changes at a different rate.
  The selection of a secondary computing facility might be reviewed once or twice a year.
  Your software could change many times every day.
  The data for your system will change nearly constantly

## Slide 15: Warm and hot second locations
Warm secondary location has space, power, and cooling. Depending on your cloud provider, this could be achieved by reserving space in a different availability zone or by expanding into a different zone if a disaster occurs.
  No software is installed in a warm location. It just provides an available data center.
Hot secondary location has all the features of a warm location, with the addition that the most current versions of software systems and infrastructure services are loaded and executing.
  A hot location will have software but not have the most current system data.

## Slide 16: Mirrored secondary location
Mirrored locations have identical software and data at two or more data centers.
In this configuration, the RTO and RPO can be truly “0.”
This approach requires that the system be designed from the start to support mirrored data.

## Slide 17: Discussion questions
What are the costs in having a mirrored secondary data center?
Can you use different secondary data centers for different tiers? Why would you do that?

## Slide 18: Outline
Disaster recovery plan
RTO and RPO and Tiers of systems
Primary and secondary data centers
Data Management
Software management Failover

## Slide 19: Tier 2-4 Data Management
Two issues exist in management of tier 2-4 data
  Backup frequency
  Storage media and recovery time

## Slide 20: Back up frequencies
When a disaster occurs, you must assume that all the data at the affected data center is lost. To have access to that data for recovery, you must have made a backup copy of that data.
The frequency of the backups is determined by the RPO.
  Tier 4 systems should be backed up once a day,
  Tier 3 systems backed up every 4 hours
  Tier 2 systems every two hours.

## Slide 21: Storage media options
Online storage to disk
  Storage at your secondary location must always be available and accessible over the network from your primary data center Replication is a one-way copy from disk storage in one data center to disk
storage in another data center.
Off line storage to tape
  Replication is copying to tape, delivering the tape to the secondary data center, and copying to disk at the secondary data center

## Slide 22: Why would you use tape?
Two reasons for using tape
  If the secondary data center location is not always available
  If your data set is too large to be sent in a timely fashion over the internet.

## Slide 23: Tier 1 data management
To achieve Tier 1 RPO, you must keep an up-to-date copy of the system data at the secondary data center location.
The replication can be
  bidirectional (often called a master-master configuration), where either data set can be updated and the update is propagated to the other copy of the data set.
  The one way (often called a master-follower configuration) where one data set is updated and the other maintains a copy.

## Slide 24: Unreplicated data
Not all data must be replicated.
  Session data. In this case, a user would be required to log in again in the event of a disaster. Whether this is acceptable for your system is a business decision not a technical one.
  Infrequently changed data. Items such as the static portion of web pages, e-shopping data, videos, and pictures are changed infrequently if at all.

## Slide 25: Big data
Big data is any data set that is too large to be backed up.
Big data is split into chunks called shards.
Each shard is replicated to create several copies that are distributed across multiple locations,
Distributed coordination mechanisms are built into the database system to keep all copies of a shard consistent across all locations.

## Slide 26: Discussion questions
What is an incremental backup and when is it used?
Banks are moving from private clouds to public clouds. How does that affect their disaster recovery plans?

## Slide 27: Outline
Disaster recovery plan
RTO and RPO and Tiers of systems
Primary and secondary data centers
Data Management
Software management Failover

## Slide 28: Software at the secondary location
Tiers 2-4.
  Use a configuration management system to keep the software up to date.
  It must be identical in version/patch number to the primary. Dependencies mut also be identical

## Slide 29: Software at the secondary location
Tier 1
  Updated as a portion of the normal deployment process. Thus, when the primary is changed, the secondary Is also changed.
  should execute silently–it should not allow any output to affect the behavior of the primary location or modify the backup database.

## Slide 30: Licenses and keys
If your system, infrastructure services, or development tools use any commercially licensed software, the software in the secondary data center must have the appropriate licenses and keys.

## Slide 31: Discussion questions
What are the software costs associated with keeping a mirrored or hot secondary site?
What are the database considerations for maintaining consistency between the primary and secondary data centers?

## Slide 32: Outline
Disaster recovery plan
RTO and RPO and Tiers of systems
Primary and secondary data centers
Data Management
Software management Failover

## Slide 33: Failover
Failover is the transfer of activity to a secondary data center.
Three activities
  trigger the switch to the secondary location,
  activate the secondary location and restore data and software at the secondary location,
  resume operation at the secondary location.

## Slide 34: Manual failover
Trigger
  During failover, unmirrored systems are unavailable
  Even mirrored systems may experience some disruptions. E.g. to unmirrored data
  Consequently, a manual failover is triggered by a human
Activating the secondary location should be scripted.
  Fewer errors
  Allows for one button failover

## Slide 35: Manual failover
Resuming operation is done by changing DNS setting.
  Until this completes, user requests will be sent to your (now failed) primary data center.
  If possible, a message “temporarily out of service” should be posted

## Slide 36: Automatic failover
Used for systems that have a very short RTO, where the time needed for human decision and action is too long.
Assumes mirrored secondary location
Requires monitor to trigger failover for these systems,

## Slide 37: Automatic failover
Possible false positives
  The data center did not fail, just a VM in the primary data center.
  The VMs in the primary data center were slow to respond.
  The network between the two data centers failed or was congested.
A false positive may cause database inconsistency

## Slide 38: Testing the failover process
Concerns
  You do not want to interrupt service to your clients.
  The test fails and the production database becomes corrupted.
  Your clients receive messages from the secondary location. While this is the desired behavior if there was a real disaster, these messages should not escape during a test.
If possible, test during scheduled down time.
Back up database prior to test

## Slide 39: Discussion questions
Suppose it is not possible to schedule down time for failover testing. How can you perform a test?
What personnel should be available during a failover test?

## Slide 40
END OF CHAPTER 15